## To-Do List
TASK | PRIORITY | STATUS | START DATE | DUE DATE | % COMPLETE | DONE? | NOTES
FDC/ Fire Line Stub | [5 empty] | 0
Thrust Blocks | [5 empty] | 0
Under Ground Flush | [5 empty] | 0
Under Ground Pressure Test | [5 empty] | 0
Remote FDC Drain Test -Wrench(Site) | [5 empty] | 0
Collect Contractor's Material Test Certificate of Underground Piping | [5 empty] | 0
Above Grid Inspection | [5 empty] | 0
Flow Test OF New Hydrants | [5 empty] | 0
Hard Lid Inspection | [5 empty] | 0
Overhead 200 LB Pressure test | [5 empty] | 0
CO2 Tanks? Detection? | [5 empty] | 0
WIV Inspection- Tamper Test | [5 empty] | 0
Hydrant in-service test | [5 empty] | 0
Radio Signal Testing report (Wrapped Building) | [5 empty] | 0
24 hour 5 min. Alarm Test | [5 empty] | 0
Horn and Strobe Function Test | [5 empty] | 0
FAS Dedicated Breaker-Labeled | [5 empty] | 0
Collect Field Test Inspection report of FAS before scheduling a 24/5 | [5 empty] | 0
Signed Record of Completion (FAS) | [5 empty] | 0
FAS (New System) Tag | [5 empty] | 0
FSS (New System) Tag | [5 empty] | 0
Backflow Preventer (Tag) | [5 empty] | 0
Fire Pump Test & Ports | [5 empty] | 0
Fire Pump Tag | [5 empty] | 0
Knox Box (Keys Added) | [5 empty] | 0
FDC Caps | [5 empty] | 0
Premise ID | [5 empty] | 0
Final Inspection | [5 empty] | 0
New BL Inspection | [5 empty] | 0
All Signs For Fire Knowledge | [5 empty] | 0
Redline Plans (As-built) | [5 empty] | 0
Certificate of Completion | [5 empty] | 0
Plans in Riser Room in Doc Box | [5 empty] | 0
Identification of Riser | [5 empty] | 0
Elevator Passed Off | [5 empty] | 0
Elevator Keys | [5 empty] | 0
Approved No Parking Signs and Red Curbside Painting | [5 empty] | 0
Key Maps for Fire Knowledge at all Alarm Pannels | [5 empty] | 0
0
0
0